The Cabinet for Health and Family Services – Department for Public Health would like to remind you, your septic system can provide long-term, effective treatment of house hold waste water if properly designed, constructed  and maintained.

Things to keep in mind:

- Know where your septic system is located.

- Inspect your system (every 3 years) and pump                                    your tank as necessary (generally 3 to 5 years).

- Use water efficiently.

- Don’t dispose of household hazardous                                                                                       wastes in the sinks or toilets.

Avoid driving or parking vehicles on your drainfield, tank, or other septic system components.

For more information contact your Local Health Department.

- Plant only grass over and near your drainfield to avoid                                                                     damage from roots.

- Keep roof drains, basement sump pumps drains and                                                                       other rain water or surface water drainage systems away                                                                from the drainfield.

- Keep a maintenance log including when the tanks are pumped and                                                                 records pertaining to any repairs.

http://chfs.ky.gov/dph/info/phps/

enviromgmt.htm

The Cabinet for Health and Family Services – Department for Public Health would like to remind you, your septic system can  provide long-term, effective treatment of house hold waste water if properly designed, constructed  and maintained.

Things to keep in mind:

- Know where your septic system is located.

- Inspect your system (every 3 years) and pump                                    your tank as necessary (generally 3 to 5 years).

- Use water efficiently.

- Don’t dispose of household hazardous                                                                                       wastes in the sinks or toilets.

Avoid driving or parking vehicles on your drainfields, pipes, tank, or other septic system components.

For more information contact your Local Health Department.

- Plant only grass over and near your drainfield to avoid                                                                     damage from roots.

- Keep roof drains, basement sump pumps drains and                                                                       other rain water or surface water drainage systems away                                                                from the drainfield.

- Keep a maintenance log including when the tanks are pumped,                                                                 any records pertaining to any repairs.

http://chfs.ky.gov/dph/info/phps/

enviromgmt.htm

The Cabinet for Health and Family Services – Department for Public Health would like to remind you, your septic system can provide long-term, effective treatment of house hold waste water if properly designed, constructed  and maintained.

Things to keep in mind:

- Know where your septic system is located.

- Inspect your system (every 3 years) and pump                                    your tank as necessary (generally 3 to 5 years).

- Use water efficiently.

- Don’t dispose of household hazardous                                                                                       wastes in the sinks or toilets.

Avoid driving or parking vehicles on your drainfield, tank, or other septic system components.

For more information contact your Local Health Department.

- Plant only grass over and near your drainfield to avoid                                                                     damage from roots.

- Keep roof drains, basement sump pumps drains and                                                                       other rain water or surface water drainage systems away                                                                from the drainfield.

- Keep a maintenance log including when the tanks are pumped and                                                                 records pertaining to any repairs.

http://chfs.ky.gov/dph/info/phps/

enviromgmt.htm

The Cabinet for Health and Family Services – Department for Public Health would like to remind you, your septic system can provide long-term, effective treatment of house hold waste water if properly designed, constructed  and maintained.

Things to keep in mind:

- Know where your septic system is located.

- Inspect your system (every 3 years) and pump                                    your tank as necessary (generally 3 to 5 years).

- Use water efficiently.

- Don’t dispose of household hazardous                                                                                       wastes in the sinks or toilets.

Avoid driving or parking vehicles on your drainfield, tank, or other septic system components.

For more information contact your Local Health Department.

- Plant only grass over and near your drainfield to avoid                                                                     damage from roots.

- Keep roof drains, basement sump pumps drains and                                                                       other rain water or surface water drainage systems away                                                                from the drainfield.

- Keep a maintenance log including when the tanks are pumped and                                                                 records pertaining to any repairs.

http://chfs.ky.gov/dph/info/phps/

enviromgmt.htm